REQUIREMENT TABLE

SRN:PES1UG24CS621   SECTION:K      NAME:Shravani Mallur

| Req ID | Type | Description | Priority | Acceptance Criteria | Rationale (short) |
| --- | --- | --- | --- | --- | --- |
| FR-001 | Functional | The system shall continuously evaluate ingested patient vitals against configured clinical thresholds and flag critical anomalies within 2 seconds. | High | Pass: High heart rate (>140 BPM) triggers immediate escalation alert; Fail: Metric spike ignored or delayed > 5s. | Core anomaly detection logic required for patient safety |
| FR-002 | Functional | The system shall ingest real-time vital telemetry streams (SpO2, Heart Rate, Blood Pressure) from connected remote monitoring devices every 5 seconds. | High | Pass: Ingestion service logs received packets from active sensors at 5-second intervals without data drops. Fail: Packet drops exceed 1% or latency > 10s | Real-time continuous data stream is necessary for post-operative monitoring. |
| FR-003 | Functional | The system shall escalate critical threshold breach alerts sequentially through a predefined caregiver escalation matrix if unacknowledged. | High | Pass: Alert routes to secondary caregiver if primary caregiver does not acknowledge within 60 seconds. Fail: Alert remains stuck or drops without escalation. | Ensures critical patient emergencies are handled if primary staff is unavailable. |
| FR-004 | Functional | The system shall allow on-call caregivers to acknowledge, review, and dismiss active telemetry breach alerts from their dashboard. | Medium | Pass: Caregiver pressing "Acknowledge" updates alert state to "Under Review" and stops escalation timer. Fail: Alert state fails to sync. | Prevents redundant notifications and tracks active medical response. |
| FR-005 | Functional | The system shall store and display a 24-hour historical telemetry log and trend graph for patient vitals to authorized caregivers. | Medium | Pass: User dashboard renders interactive trend lines of SpO2, HR, and BP across selected 24h timeline in < 2 seconds. Fail: Graph fails to render or truncates historical data. | Facilitates clinical assessment of post-operative recovery trends over time. |
| NFR-001 | Non-Functional (Performance & Scalability) | The telemetry ingestion gateway shall support at least 500 concurrent continuous telemetry streams with 99.99% uptime. | High | Pass: Benchmarking tests confirm target latency and security standards under simulated peak load. Fail: System crash or degradation under 500 parallel streams. | Handles high hospital/remote patient concurrency without downtime or loss of vitals. |
| NFR-002 | Non-Functional (Security & Compliance ) | The system shall encrypt all patient vitals telemetry data in transit (TLS 1.3) and at rest (AES-256) in compliance with HIPAA standards. | High | Security audit verifies all REST/WebSocket payloads and database storage volumes are encrypted with AES-256/TLS 1.3. Fail: Unencrypted plaintext data detected. | Protects sensitive patient health data and adheres to legal/medical data protection standards. |